## Introduction
Introduction
The purpose of this document is to give an understanding over the data that is to be provided to Eudamed and that can be communicated through Data Exchange process for the UDI/Device module. The document presents the different attributes related to UDI/Device that may be communicated through XML, their correspondence to the fields from EUDAMED User Interface, the description of each field apart and the Rules applying at the level of the Entity of for each specific field apart. Each attribute is defined by the Entity were it resides and the attribute name.
Document sections (sheets)
Data Dictionary Fields | Section contains a description of the fields used in the data dictionary
Entities | Section contains the list of Entities in MDR EUDAMED system involved in the Data Exchange process for the module described, a description of the Entity and the Business Rules applicable at the level of each Entity apart
Field Size | Section explain the different type of Sizes used for the String fields inside the document
Data Dictionary Basic UDI | Section contains all the fields related to the Basic UDI main Entity and other Entities associated to the Basic UDI for device(s) that are managed/affected by a manufacturer and for certificate identification that could be affected by NB certificate registration.
Data Dictionary NB related | Section contains all the fields related to the entities associated to the Basic UDI-DI that can be affected only by the Notified Bodies. Decision for confirmation are managed automatically from certificate registration, SS(C)P automatically from certificate registration or directly in UDI/device.
Data Dictionary AR related | Section contains all the fields related to the entities associated to the Basic UDI-DI that can be affected only by the Authorised Representatives (Optional, not implemented yet).
Data Dictionary UDI-DI | Section contains all the fields related to the UDI main Entity and other Entities associated to the UDI for a device that are managed/affected by a manufacturer.
Data Dictionary Basic UDI_SPPP | Section contains all the fields related to the Basic UDI main Entity and other Entities associated to the Basic UDI for a System or Procedure Pack that are managed/affected by a System or Procedure Pack Producer.
Data Dictionary UDI-DI_SPPP | Section contains all the fields related to the UDI main Entity and other Entities associated to the UDI for a System or Procedure Pack that are managed/affected by a System or Procedure Pack Producer.

## Data Dictionary Fields
Field ID | Unique ID for the label (technical field. assigned by the BA)
Entity Name | Entity model class name. (technnical field. Use naming convention as per class name in entity model)
Field Label | Field label in EN language as it appears at the GUI. NOTE: each field label needs to be recordet in the label log
Field Description/Notes | Field description in EN language. Field related notes which will be transposed to EA and will be visible in the data model related documentation generated from EA
ENUM Reference Code | Reference code to the enum list used by the field
Field Type | Field type (technical field - string, date, boolean, long, enum, etc.)
Field Size | See Field Size tab
Multilingual Flag | Can the user provide multiple translations for this field (if blank means No)
Occurrence | How many times does this field exists?
Confidential | To be seen only by the owner and the CA on the restricted site (if blank means No)
Searchable | if the field will be used in the search (if blank means No)
GDPR Flag | if the information stored in this field is considered personal data in compliance with PDPR (if blank means No)
Public Access Flag | if the information from this field will be available into the MDR Eudamed public site (if blank means No)
Updateable (standard version) | mentions if the field is updateble when creating a normal update of the entity (standard version) (if blank means No)
Updateable (version 'for Correction') | mentions if the field is updateble when creating a version for correction for the entity (if blank means No)
MDR | referance to the legal bases for the field when 'required in legislation' flag is 'Yes' (if blank means No)
IVDR | referance to the legal bases for the field when 'required in legislation' flag is 'Yes' (if blank means No)
Business Rules | Reference code to the business rules related to the field
DTX Entity Name | Data Exchange Entity name
DTX XSD Element Name | Data Exchange XSD Element / Entity Attribute

## Entities
Entity | Description | Business Rules
DIIdentifier | Unique (Primary) Identifier for a Device, Device Model, Package Structure element or Unit of Use; Device identifier consists of the DI Code and Issuing Entity. | BR-UDID-03
BasicUDIData | Basic UDI is the Device Model (grouping of Devices having similar properties) for a Device. BasicUDIData manages the properties and relationships for a Device, from the Device Model level; | Registration BR-UDID-01 BR-UDID-61 BR-UDID-05 BR-UDID-62 BR-UDID-04 BR-UDID-35 Update BR-UDID-48 BR-UDID-49 BR-UDID-116 BR-UDID-107 System and Procedure Packs BR-UDID-129 BR-UDID-135
UDIData | UDI-DI is the unique identificator of a Device (the device itself). UDIData entity manages all the properties and relationships for a Device, from the Device level; | Registration BR-UDID-01 BR-UDID-69 BR-UDID-268 BR-UDID-67 BR-UDID-17 BR-UDID-35 Update BR-UDID-48 BR-UDID-51 BR-UDID-116 BR-UDID-117 BR-UDID-107 System and Procedure Packs BR-UDID-132 BR-UDID-133 BR-UDID-136
ARComment | Comments entered by Authorised Representatives for a Basic UDI-DI to which it is linked
Clink | When registering the Device - where applicable, the single identification number of the clinical investigation or investigations conducted in relation to the device or a link to the clinical investigation must be provided. Entity stores a reference or the details to the Clinical Investigations linked to the Basic UDI-DI | BR-UDID-97 BR-UDID-98
DeviceCertificateInformation | When registering the Device, for Devices covered by Product certificates, user will have to provide identification details of the Product Certificate covering the Device. Entity stores a reference to the Certificates Scopes linked to the Basic UDI-DI | BR-UDID-53 BR-UDID-118 BR-UDID-119 BR-UDID-54 BR-UDID-109 BR-UDID-110 BR-UDID-113 BR-UDID-112
ContainedItem | Entity stores the main details of the Device (UDI-DI) and of Packaging Structure element. | BR-UDID-430
DeviceStatus | Entity stores the status of the Device or Package element | BR-UDID-458 BR-UDID-73
ClinicalSize | When registering the device Clinical Sizes can be provided if applicable. Several Clinical Sizes can be added for the Device. Clinical Size will be defined by the Type, Precizion, Value (either Range, single value or Text) and Measuring Unit Device Clinical Size properties | BR-UDID-74 BR-UDID-75
SubstanceList | When registering a new Device containing in its composition substances (substances being CMR of category 1A or 1B / substances having endocrine-disrupting properties/ substances which, if used separately, may be considered to be a medicinal product/ substances which, if used separately, may be considered to be a medicinal product derived from human blood or human plasma), Manufacturer will have to submit the details of those substances. Entity stores the details of these Substances | BR-UDID-25 BR-UDID-89 BR-UDID-27 BR-UDID-90 BR-UDID-101 BR-UDID-41
InstructionForUseDetails | Storage and handling Conditions and Critical Warnings or Contra-Indications specified on the Label of the Device or in the Instruction of Use have to be registered in EUDAMED - if applicable. Entity stores the details for Critical Warnings and Storage and Handling Conditions | BR-UDID-28 BR-UDID-74 BR-UDID-30 BR-UDID-637 BR-UDID-30 BR-UDID-638
ProductDesignerLink | Details of the Natural or Legal Person who designed or Manufactured the Device | BR-UDID-95 BR-UDID-38 BR-UDID-96
Organisation | In case the Natural or Legal Person who designed or Manufactured the Device is not registered in EUDAMED as a Manufacturer, the Organisation details of that entity.
GeographicAddress | In case the Natural or Legal Person who designed or Manufactured the Device is not registered in EUDAMED as a Manufacturer, the Address details of that entity.
PublicContactDetails | In case the Natural or Legal Person who designed or Manufactured the Device is not registered in EUDAMED as a Manufacturer, the contact details of that entity.
MarketInfoLink | Stores the link between the device and the Market Info details
MarketInfo | Entity stores the details about the market distribution of the Device (Countries were the device is placed on the market) | BR-UDID-43 BR-UDID-44 BR-UDID-45 BR-UDID-46
SSCP | Entity stores the details about the Summary of Safety and Clinical Performance | BR-UDID-417 BR-UDID-418 BR-UDID-419 BR-UDID-421
VersionData | Entity stores the details about the versions of the different entities

## Field Size
XS | 120
S | 255
M | 500
L | 2000
XL | clob
Table short name: | VARCHAR2(3 CHAR)
Audit fields: | VARCHAR2(30 CHAR)
Number(10)

## Data Dictionary BASIC UDI
MDR Eudamed - Data Dictionary
|  | EA | EA |  | EA
Field ID | Field Label | Entity Name | Field Description / Notes | ENUM Reference Code | Field Type | Field Size | Multilingual Flag | Occurrence | Confidential | Searchable | GDPR Flag | Public Access Flag | Business Rules | Updateable (standard version) | Updateable (version 'for Correction') | Field Applicable for MDR | Field Applicable for IVDR | DTX Entity | XSD Element Name
FLD-UDID-01 | Issuing Entity | DIIdentifier | Assigned Issuing Entities that will generate the DI Codes allocated for all DI`s inside Eudamed (Basic UDI DI, UDI-DI, Unit of Use DI, Secondary Di , Package level DI). The Commission shall designate one or several entities to operate a system for assignment of UDIs ('issuing entity') | ENUM_MDR_IssuingEntity | Enum |  |  | 1 |  | Y |  | Y |  |  |  | Y | Y | DIIdentififierType | issuingEntityCode
FLD-UDID-02 | Basic UDI- DI Value / UDI-DI Code/ Package UDI-DI Code | DIIdentifier | Device Identified code/value (DI Code). Together with the Issuing Entity creates the uniqness of the element to which they are assigned (Basic UDI-DI , UDI-DI, etc.) The Basic UDI-DI is the primary identifier of a device model.It is the main key for records in the UDI database and is referenced in relevant certificates and EU declarations of conformity The UDI-DI is a unique numeric or alphanumeric code specific to a model of device and that is also used as the 'access key' to information stored in a UDI database. The Unit of Use DI serves to associate the use of a device with a patient in instances in which a UDI is not labelled on the individual device at the level of its unit of use, for example in the event of several units of the same device being packaged together. | N/A | String | XS |  | 1 |  | Y |  | Y | BR-UDID-03 |  |  | Y | Y | DIIdentififierType | DICode
FLD-UDID-10 | Manufacturer SRN | BasicUDIData | SRN of the Manufacturer that registers the Device. | N/A | String | XS |  | 1 |  | Y |  | Y |  |  |  | Y | Y | DeviceBasicUDIType | MFActorCode
FLD-UDID-11 | Applicable Legislation | BasicUDIData | Applicable Legislation of the Device. The device can have only one Applicable Legislation. Either a Regulation value can be selected/provided (MDR or IVDR) or a Directive Regulation value (MDD, AIMDD or IVDD) - in the case of Directive Devices. | ENUM_MDR_LEG | Enum |  |  | 1 |  | Y |  | Y | BR-UDID-05 BR-UDID-62 BR-UDID-81 |  |  | Y | Y | MDRBasicUDIType IVDRBasicUDIType | applicableLegislation
FLD-UDID-12 | Is it a System which is a Device in itself, Procedure pack which is a Device in itself or Kit | BasicUDIData | Property defines if the Basic UDI-DI is refering to a System which is a Device in itself, Procedure pack which is a Device in itself or Kit. Property is a applicable for Standard Devices (not Systems or Procedure Packs) | ENUM_UDID_MultiComponentDevice | Enum |  |  | 1 |  |  |  | Y | BR-UDID-146 BR-UDID-130 BR-UDID-147 |  |  | Y | Y | MDRApplicablePropertiesType | systemDevice procedurePackDevice
FLD-UDID-13 | Special Device Type | BasicUDIData | Property defines if the Device is a Special Device Type anf if so , the type of Special device Type. In case the Device is a Standard Device having the option System or Procedure Pack (which is a Device in itself) or a System or Procedure Pack - field is not supplied. | ENUM_UDID_SpecialDevice | Enum |  |  | 0..1 |  |  |  | Y | BR-UDID-455 |  |  | Y | Y | DeviceBasicUDIType | specialDevice
FLD-UDID-15 | Authorised Representative | BasicUDIData | The SRN of the Authorised Representative associated with the Basic UDI-DI. For Manufacturers which are not established in the Union (NonEU Manufacturers) providing the Authorised Representative for the Basic UDI-DI is required. | N/A | String | XS |  | 0..1 (Applicable only for nonEU MF) |  | Y |  | Y | BR-UDID-11 BR-UDID-12 BR-UDID-13 BR-UDID-82 | Y | Y | Y | Y | DeviceBasicUDIType | ARActorCode
FLD-UDID-16 | Risk Class | BasicUDIData | Risk Class of the Device associated with the Basic UDI-DI. Device Risk Class is dependent directly on the Applicable Legislation of the Device. | ENUM_UDID_RiskClass | Enum |  |  | 1 |  | Y |  | Y | BR-UDID-64 BR-UDID-08 BR-UDID-09 BR-UDID-06 BR-UDID-137 |  | Y | Y | Y | BasicUDIType | riskClass
FLD-UDID-18 | Tissues and cells - Presence of animal tissues or Cells, or their derivates | BasicUDIData | Property defines if the Device has presence of animal tissues or cells or their derivates | N/A | Boolean |  |  | 1 |  | Y |  | Y | BR-UDID-35 BR-UDID-558 |  | Y | Y |  | BasicUDIDeviceDataType | animalTissuesCells
FLD-UDID-20 | Device Model | BasicUDIData | I nformation allowing the identification of the device - Device Model. At least one of the Device identification details (Device Model or the Device Name) have to be provided for a Basic UDI-DI. | N/A | String | XS |  | 0..1 (Either Device Model or Device Name is required) |  | Y |  | Y | BR-UDID-66 | Y | Y | Y | Y | ModelNameGroup | model
FLD-UDID-22 | Device Name | BasicUDIData | I nformation allowing the identification of the device - Device Name. At least one of the Device identification details (Device Model or the Device Name) have to be provided for a Basic UDI-DI. | N/A | String | XS |  | 0..1 (Either Device Model or Device Name is required) |  | Y |  | Y | BR-UDID-66 | Y | Y | Y | Y | ModelNameGroup | name
FLD-UDID-23 | Tissues and cells - presence of human tissues or cells, or their derivates | BasicUDIData | Property defines if the Device has presence of human tissues or cells or their derivates | N/A | Boolean |  |  | 1 |  | Y |  | Y | BR-UDID-35 BR-UDID-558 |  | Y | Y | Y | BasicUDIDeviceDataType | humanTissuesCells
FLD-UDID-28 | Active Device | BasicUDIData | Property defines if the Basic UDI-DI corresponds to an Active device or not. 'Active device' means any device, the operation of which depends on a source of energy other than that generated by the human body for that purpose, or by gravity, and which acts by changing the density of or converting that energy. Devices intended to transmit energy, substances or other elements between an active device and the patient, without any significant change, shall not be deemed to be active devices. Software shall also be deemed to be an active device. | N/A | Boolean |  |  | 0..1 (Only for MDR) |  | Y |  | Y | BR-UDID-05 BR-UDID-07 |  | Y | Y |  | MDRApplicablePropertiesGroup | active
FLD-UDID-29 | Device Intended to administer and/or Remove medicinal product | BasicUDIData | Property defines if the Device is intended to administer or remove medicinal product | N/A | Boolean |  |  | 0..1 (Only for MDR) |  | Y |  | Y | BR-UDID-05 |  | Y | Y |  | MDRApplicablePropertiesGroup | administeringMedicine
FLD-UDID-30 | Implantable | BasicUDIData | Property defines if the Basic UDI-DI corresponds to a device that is Implantable or not. Any device intended to be partially introduced into the human body by clinical intervention and intended to remain in place after the procedure for at least 30 days shall also be deemed to be an implantable device | N/A | Boolean |  |  | 0..1 (Only for MDR) |  | Y |  | Y | BR-UDID-05 BR-UDID-07 BR-UDID-14 |  | Y | Y |  | MDRApplicablePropertiesGroup | implantable
FLD-UDID-31 | Measuring Function | BasicUDIData | Property defines if the Device has a Measuring Function or not | N/A | Boolean |  |  | 0..1 (Only for MDR) |  | Y |  | Y | BR-UDID-05 |  | Y | Y |  | MDRApplicablePropertiesGroup | measuringFunction
FLD-UDID-32 | Reusable Surgical Instruments | BasicUDIData | Property defines if the Device is a Reusable Surgical Instrument or not. 'Reusable surgical instrument' means an instrument intended for surgical use in cutting, drilling, sawing, scratching, scraping, clamping, retracting, clipping or similar procedures, without a connection to an active device and which is intended by the Manufacturer to be reused after appropriate procedures such as cleaning, disinfection and sterilisation have been carried out. | N/A | Boolean |  |  | 0..1 (Only for MDR) |  | Y |  | Y | BR-UDID-05 BR-UDID-15 |  | Y | Y |  | MDRApplicablePropertiesGroup | reusable
FLD-UDID-33 | Companion Diagnostic | BasicUDIData | Property defines if the Device corresponds to a device that has a role of Companion Diagnostic device or not. 'Companion diagnostic’ means a device which is essential for the safe and effective use of a corresponding medicinal product to: - identify, before and/or during treatment, patients who are most likely to benefit from the corresponding medicinal product; or - identify, before and/or during treatment, patients likely to be at increased risk of serious adverse reactions as a result of treatment with the corresponding medicinal product. | N/A | Boolean |  |  | 0..1 (Only for IVDR) |  | Y |  | Y | BR-UDID-62 |  | Y |  | Y | IVDRApplicablePropertiesGroup | companionDiagnostics
FLD-UDID-34 | Tissues and cells - Presence of cells or substances of microbial origin | BasicUDIData | Property defines if the Device contains presence of substances of microbial origin | N/A | Boolean |  |  | 1 |  | Y |  | Y | BR-UDID-35 BR-UDID-558 |  | Y |  | Y | IVDRBasicUDIDeviceDataType | microbialSubstances
FLD-UDID-35 | Near Patient Testing | BasicUDIData | Property defines if the Device device is Near Patient testing or not. 'Device for near-patient testing’ means any device that is not intended for self-testing but is intended to perform testing outside a laboratory environment, generally near to, or at the side of, the patient by a health professional; | N/A | Boolean |  |  | 0..1 (Only for IVDR) |  | Y |  | Y | BR-UDID-62 |  | Y |  | Y | IVDRApplicablePropertiesGroup | nearPatientTesting
FLD-UDID-36 | Patient Self Testing | BasicUDIData | Property defines if the Device is Self Patient testing device or not. 'Device for self-testing’ means any device intended by the manufacturer to be used by lay persons, including devices used for testing services offered to lay persons by means of information society services; | N/A | Boolean |  |  | 0..1 (Only for IVDR) |  | Y |  | Y | BR-UDID-62 |  | Y |  | Y | IVDRApplicablePropertiesGroup | selfTesting
FLD-UDID-51 | Clinical Investigation reference Number | Clink | When registering the Device - where applicable, the single identification number of the clinical investigation or investigations conducted in relation to the device or a link to the clinical investigation must be provided. Field stores the Clinical Investigation Number provided by the user when the Clinical Investigation is not registered in EUDAMED | N/A | String |  |  | 1 |  |  |  | Y | BR-UDID-39 |  |  | Y | Y | ClinialInvestigationLinkType | clinicalInvestigationReference
FLD-UDID-60 | Certificate Type (Technical Documentation, Type Examination, etc) | DeviceCertificateInformation | When registering the Device, for Devices covered by Product certificates, user will have to provide identification details of the Product Certificate covering the Device. Property defines the type of Product Certificate associate with the Device. | ENUM_ | Enum |  |  | 1 |  |  |  | Y | BR-UDID-119 BR-UDID-54 BR-UDID-109 BR-UDID-110 BR-UDID-113 | Y(until the link with the Certificate is made) |  | Y | Y | CertificateLinkType | certificateType
FLD-UDID-61 | Certificate Number | DeviceCertificateInformation | When registering the Device, for Devices covered by Product certificates, user will have to provide identification details of the Product Certificate covering the Device. Property stores the Certificate Number of the Product Certificate | N/A | String | XS |  | 1 |  |  |  | Y |  | Y(until the link with the Certificate is made) |  | Y | Y | CertificateLinkType.Certificate (CertificateIdentifierType) | certificateNumber
FLD-UDID-62 | Revision Number | DeviceCertificateInformation | When registering the Device, for Devices covered by Product certificates, user will have to provide identification details of the Product Certificate covering the Device. Property stores the Certificate Revision Number of the Product Certificate | N/A | String | XS |  | 0..1 |  |  |  | Y |  | Y(until the link with the Certificate is made) |  | Y | Y | CertificateLinkType.Certificate (CertificateIdentifierType) | certificateRevisionNumber
FLD-UDID-63 | Notified Body | DeviceCertificateInformation | When registering the Device, for Devices covered by Product certificates, user will have to provide identification details of the Product Certificate covering the Device. Property stores the reference to the Notified Body that issued the Product Certificate | N/A | NotifiedBody |  |  | 1 |  |  |  | Y |  | Y(until the link with the Certificate is made) |  | Y | Y | CertificateLinkType.Certificate (CertificateIdentifierType) | NBActorCode
FLD-UDID-64 | Expiry Date | DeviceCertificateInformation | When registering the Device, for Devices covered by Product certificates, user will have to provide identification details of the Product Certificate covering the Device. Property stores the Certificate Expiry Date of the Product Certificate | N/A | Date |  |  | 0..1 (Required only for Directive Certificates) |  |  |  | Y |  | Y(until the link with the Certificate is made) |  | Y | Y | CertificateLinkType | expiryDate
FLD-UDID-95 | Version Date | VersionData | In order to keep a referens to the changes performed in the different system entities, a version control mechanism is set up in place. Property stores the Date when the version was last updated | N/A | Date |  |  | 1 |  |  |  | Y |  |  |  | Y | Y | Entity | versionDate
FLD-UDID-98 | Version Number | VersionData | In order to keep a referens to the changes performed in the different system entities, a version control mechanism is set up in place. Property stores the Number of the Version when the version was last updated | N/A | Number |  |  | 1 |  |  |  | Y |  |  |  | Y | Y | Entity | version
FLD-UDID-99 | State | VersionData | In order to keep a referens to the changes performed in the different system entities, a version control mechanism is set up in place. Property stores the State of the Version | ENUM_UDID_WorkflowState | Enum |  |  | 1 |  |  |  | Y |  |  |  | Y | Y | Entity | state
FLD-UDID-155 | Presence of a substance which , if used separately, may be considered to be a medicinal product derived from human blood or plasma | BasicUDIData | Defines if the Device containes substances which may be considered medicinal product derived from human blood or plasma | N/A | Boolean |  |  | 0..1 (Only for MDR) |  | Y |  | Y | BR-UDID-101 |  |  | Y |  | MDRBasicUDIDeviceDataType | humanProductCheck
FLD-UDID-158 | Presence of substance which, if used separately, may be considered to be a medicinal product | BasicUDIData | Defines if the Device containes substances which may be considered medicinal product | N/A | Boolean |  |  | 0..1 (Only for MDR) |  | Y |  | Y |  |  |  | Y |  | MDRBasicUDIDeviceDataType | medicinalProductCheck
FLD-UDID-262 | Reagent | BasicUDIData | Property defines if the Device is a reagent or not. | N/A | boolean |  |  | 0..1 (Only for IVDR) |  | Y |  | Y | BR-UDID-62 |  | Y |  | Y | IVDRApplicablePropertiesGroup | reagent
FLD-UDID-263 | Professional Testing | BasicUDIData | Property defines if the Device is designed to be used for Professional Testing or not. | N/A | boolean |  |  | 0..1 (Only for IVDR) |  | Y |  | Y | BR-UDID-62 |  | Y |  | Y | IVDRApplicablePropertiesGroup | professionalTesting
FLD-UDID-264 | Instrument | BasicUDIData | Property defines if the Device is an Instrument or not. | N/A | boolean |  |  | 0..1 (Only for IVDR) |  | Y |  | Y | BR-UDID-62 |  | Y |  | Y | IVDRApplicablePropertiesGroup | instrument
FLD-UDID-265 | Is it Device a suture, staple, dental filling, dental brace (...)? | BasicUDIData | Property defines if the registered Device is 'suture', 'staple' , 'dental filling' etc. Property is applicable only for Devices having Risk Class II b and having the property 'Implantable' marked | N/A | boolean |  |  | 0..1 (Only for MDR IIb implantable) |  | Y |  | Y | BR-UDID-05 BR-UDID-635 |  | Y | Y |  | MDRApplicablePropertiesGroup | sutures

## Data Dictionary NB related
MDR Eudamed - Data Dictionary
|  | EA | EA |  | EA
Field ID | Field Label | Entity Name | Field Description / Notes | ENUM Reference Code | Field Type | Field Size | Multilingual Flag | Occurrence | Confidential | Searchable | GDPR Flag | Public Access Flag | Business Rules | Updateable | Updateable (version 'for Correction') | DTX Entity | XSD Element Name
FLD-UDID-80 | N/A | Decision | Decision is related to the Confirmation decision taken by the Notified Body regarding the validation/ confirmation of the details entered by the Manufacturer in the Device Data. Field stores the Date when the decision to validate the link of Certificate with Device has been taken | N/A | date |  |  | 1 |  |  |  | Y |  |  |  | CertificateLinkType.productCertificateNBDecisionType | date
FLD-UDID-82 | N/A | Decision | Decision is related to the Confirmation decision taken by the Notified Body regarding the validation/ confirmation of the details entered by the Manufacturer in the Device Data. Field stores the type of Decision taken | ENUM_UDID_DecisionTaken | enum |  |  | 1 |  |  |  | Y |  |  |  | CertificateLinkType.productCertificateNBDecision | reason
FLD-UDID-84 | N/A | Decision | Decision is related to the Confirmation decision taken by the Notified Body regarding the validation/ confirmation of the details entered by the Manufacturer in the Device Data. Field stores the reference to the Notified Body who took the Decision to validate the link off Certificate with the Device. | N/A | NotifiedBody |  |  | 1 |  |  |  | Y |  |  |  | CertificateLinkType.productCertificateNBDecision | ownerActorCode
FLD-UDID-86 | N/A | DecisionJustification | Decision is related to the Confirmation decision taken by the Notified Body regarding the validation/ confirmation of the details entered by the Manufacturer in the Device Data. Field stores the Reason (comment) why a specific Decision has been made | N/A | String | M |  | 1 |  |  |  | Y |  |  |  | CertificateLinkType.productCertificateNBDecision | comments
FLD-UDID-112 | Basic UDI-DI for which the SSCP is uploaded | SSCP | SSCP(Summary of safety and clinical performance) can be registered in EUDAMED by the Notified Body and can be periodically updated Field stores the reference to the Basic UDI - DI for which the SSCP is uploaded | N/A | Basic UDI data |  |  | 1 |  | Y |  | Y | BR-UDID-418 BR-UDID-419 BR-UDID-421 | Y |  | SSCPType | basicUDI
FLD-UDID-113 | Notified Body | SSCP | SSCP(Summary of safety and clinical performance) can be registered in EUDAMED by the Notified Body and can be periodically updated Field stores the reference to the Notified Body who uploaded the SSCP | N/A | NotifiedBody |  |  | 1 |  | Y |  | Y | BR-UDID-418 BR-UDID-419 BR-UDID-421 | Y |  | SSCPType | NBActorCode
FLD-UDID-115 | Attachement | SSCP | SSCP(Summary of safety and clinical performance) can be registered in EUDAMED by the Notified Body and can be periodically updated Field stores a reference to a Document uploaded in EUDAMED | N/A | SSCPAttachement |  |  | 0..n |  |  |  | Y |  | Y |  | SSCPType | documents
FLD-UDID-270 | Master Document | SSCPAttachement | SSCP(Summary of safety and clinical performance) can be registered in EUDAMED by the Notified Body and can be periodically updated Field marks the fact that the current document is the SSCP master attachement (validated by the NB) |  | Boolean |  |  | 1 |  |  |  | Y |  |  |  | SSCPDocumentType | masterDocument
FLD-UDID-272 | Document Language | StoredDocument | For the documents uploaded in EUDAMED (for example SSCP attachement), a set of properties are stored. Field stores the Language in which the document (attachement) is given | ENUM_MDR_LANGUAGE | Enum |  |  | 1 |  |  |  | Y |  |  |  | DocumentType | languages
FLD-UDID-273 |  | StoredDocument | For the documents uploaded in EUDAMED (for example SSCP attachement), a set of properties are stored. Field stores the Document size. |  | Number |  |  | 1 |  |  |  | Y |  |  |  | DocumentType | size
FLD-UDID-274 |  | StoredDocument | For the documents uploaded in EUDAMED (for example SSCP attachement), a set of properties are stored. Field stores the Link to the document. |  | String | S |  | 1 |  |  |  | Y |  |  |  | DocumentType | URI
FLD-UDID-275 |  | StoredDocument | For the documents uploaded in EUDAMED (for example SSCP attachement), a set of properties are stored. Field stores the Format (Type) of the Document |  | String | S |  | 1 |  |  |  | Y |  |  |  | DocumentType | format
FLD-UDID-276 |  | StoredDocument | For the documents uploaded in EUDAMED (for example SSCP attachement), a set of properties are stored. Field stores the document content (the file needed to be uploaded). |  | base64Binary | XL |  | 1 |  |  |  | Y |  |  |  | DocumentType | content

## Data Dictionary AR related
MDR Eudamed - Data Dictionary
|  | EA | EA |  | EA
Field ID | Field Label | Entity Name | Field Description / Notes | ENUM Reference Code | Field Type | Field Size | Multilingual Flag | Occurrence | Confidential | Searchable | GDPR Flag | Public Access Flag | Business Rules | Updateable (standard version) | Updateable (version 'for Correction') | Field Applicable for MDR | Field Applicable for IVDR | DTX Entity | XSD Element Name
FLD-UDID-41 | Comment | ARComment | Comments made by the Authorised Representative related to the Device | N/A | String | M | Y | 1 | [5 empty] | Y |  | Y | Y | CommentType | comment
FLD-UDID-42 | Date | ARComment | Date when the Authorised Representative submitted the comment for the Device | N/A | Date |  |  | 1 | [7 empty] | Y | Y | CommentType | date
FLD-UDID-43 | ARSRN | ARComment | Authorised Representative that issued the comment | N/A | String | XS |  | 1 | [7 empty] | Y | Y | CommentType | ownerActorCode

## Data Dictionary UDI-DI
MDR Eudamed - Data Dictionary
|  | EA | EA |  | EA
Field ID | Field Label | Entity Name | Field Description / Notes | ENUM Reference Code | Field Type | Field Size | Multilingual Flag | Occurrence | Confidential | Searchable | GDPR Flag | Public Access Flag | Business Rules | Updateable | Updateable (version 'for Correction') | Field Applicable for MDR | Field Applicable for IVDR | DTX Entity | XSD Element Name
FLD-UDID-01 | Issuing Entity | DIIdentifier | Assigned Issuing Entities that will generate the DI Codes allocated for all DI`s inside Eudamed (Basic UDI DI, UDI-DI, Unit of Use DI, Secondary Di , Package level DI). The Commission shall designate one or several entities to operate a system for assignment of UDIs ('issuing entity') | ENUM_UDID_IssuingEntity | Enum |  |  | 1 |  | Y |  | Y |  |  |  | Y | Y | DIIdentififierType | issuingEntityCode
FLD-UDID-02 | Basic UDI- DI Value / UDI-DI Code/ Package UDI-DI Code. Secondary DI. Unit of Use DI | DIIdentifier | Device Identified code/value (DI Code). Together with the Issuing Entity creates the uniqness of the element to which they are assigned (Basic UDI-DI , UDI-DI, etc.) The Basic UDI-DI is the primary identifier of a device model.It is the main key for records in the UDI database and is referenced in relevant certificates and EU declarations of conformity The UDI-DI is a unique numeric or alphanumeric code specific to a model of device and that is also used as the 'access key' to information stored in a UDI database. The Unit of Use DI serves to associate the use of a device with a patient in instances in which a UDI is not labelled on the individual device at the level of its unit of use, for example in the event of several units of the same device being packaged together. Direct Marking UDI-DI - is the DI with which the Device (UDI-DI) is labeled directly | N/A | String | XS |  | 1 |  | Y |  | Y | BR-UDID-03 |  |  | Y | Y | DIIdentififierType | DICode
FLD-UDID-121 | Quantity per package | ContainedItem | Number of Items in the Package Structure. Used when describing the Container Packaging Structure of a Device. | N/A | Number |  |  | 1 |  |  |  | Y |  |  |  | Y | Y | PackageUDIType | numberOfItems
FLD-UDID-122 | Recall Precision | ContainedItem | When the Status of a Device is set to FSCA Initiated or Recall, details about the Scope of the Recall/ FSCA are required (description of the serialnumber / lot number, etc.) Field stores the details of the recalled elements (batch numbers, lots numbers , etc.) of the Device - when the Scope of Recalled is entered manually by the user (not by referencing an FSN) | N/A | String | L |  | 1 |  |  |  | Y | BR-UDID-52 |  |  | Y | Y | UDIDISubstatusType | recalledPrecisions
FLD-UDID-123 | Scope of Recall | ContainedItem | When the Status of a Device is set to FSCA Initiated or Recall, details about the Scope of the Recall/ FSCA are required (description of the serialnumber / lot number, etc.) Field defines how the Scope of the Recall is defined (by Lot number, Serial Number , etc.) | ENUM_UDID_DeviceScope | Enum |  |  | 1 |  |  |  | Y |  |  |  | Y | Y | UDIDISubstatusType | recallScope
FLD-UDID-124 |  | ContainedItem | Container Packaging Structure is a ierarhical structure defining how the Device is packaged together for shipping and selling reasons. The basic (the lower) element of the Packagining Structure is the UDI-DI. The field stores a link to previous element in the Package Structure (parent element) |  | Containeditem |  |  | 1 | [7 empty] | Y | Y | PackageUDIType | child
FLD-UDID-130 | Device Status | DeviceStatus | Status of the Device (On the market, No longer placed on the market). | ENUM_UDID_DeviceStatus | Enum |  |  | 1 |  | Y |  | Y | BR-UDID-114 BR-UDID-73 BR-UDID-458 | Y | Y | Y | Y | UDIDIStatusType | code
FLD-UDID-131 | Device SubStatus | DeviceStatus | SubStatus of the Device (Recalled, Field safety corrective action initiated) | ENUM_UDID_DeviceSubStatus | Enum |  |  | 0..2 |  | Y |  | Y |  |  |  | Y | Y | UDIDISubstatusType | code
| /Date of Status / Substatus update | DeviceStatus | Date when the Status/ Substatus is updated | N/A | Date | [6 empty] | Y |  |  |  | Y | Y | UDIDIStatusType UDIDISubstatusType | date
FLD-UDID-135 | Unit of Use DI | UDIData | Unit of Use DI - reference to the Unit of Use DI applicable for the current UDI-DI (Device Identifier). A virtual identifier assigned to an individual medical device when a Unique Device Identifier (UDI) is not labeled on the individual device at the level of its unit of use. Its purpose is to associate the use of a device to/on a patient when a base package contains more than one device. Field is mandatory when the value of the field Direct marking is false and Quantity of Device is more than 1. | N/A | DIIdentifier | XS |  | 0..1(If directmarkingDi is false , field is mandatory) |  |  |  |  | BR-UDID-23 |  | Y | Y | Y | DeviceUDIDIDataType | unitOfUseIdentifier
FLD-UDID-136 | Secondary UDI - DI value | UDIData | Secondary UDI DI Code - reference to the Secondary UDI-DI registered for the current UDI-DI . Additional DI associated to this UDI-DI. Only one Secondary UDI-DI (Additional UDI-DI) can be associated to a UDI-DI | N/A | DIIdentifier | XS |  | 0..1 | [5 empty] | Y | Y | Y | Y | UDIDIDataType | secondaryIdentifier
FLD-UDID-137 | Member State of the placing on the EU market of the device | UDIData | Defines the Country were the device has been placed on the Market (Member State in which the device is to or has been placed on the market in the Union) | ENUM_MDR_COUNTRY | Enum |  |  | 1 |  | Y |  | Y | BR-UDID-45 BR-UDID-46 BR-UDID-35 |  | Y | Y | Y | MarketInfoType | country (having property originalPlacedOnTheMarket True)
FLD-UDID-153 | Is the Device directly marked? | UDIData | Property defines if the Device is directly marked with a DI Code or not (is not labelled individually) | N/A | Boolean |  |  | 1 |  |  |  | Y | BR-UDID-67 |  | Y | Y | Y | DeviceUDIDIDataType | directMarking
FLD-UDID-138 | Direct Marking UDI-DI | UDIData | Direct Marking UDI-DI - is the DI with which the Device (UDI-DI) is marked directly Field is mandatory when the Device is directly marked ( Direct Marking = YES). The value of the field is a DI - either the current UDI-DI (of the current device) or a different UDI-DI. | N/A | DIIdentifier | XS |  | 0..1(If directmarkingDi is true , field is mandatory) |  |  |  | Y | BR-UDID-639 |  | Y | Y | Y | DeviceUDIDIDataType | directMarkingDI
FLD-UDID-145 | Basic UDI-DI Identifier | UDIData | Reference to the Basic UDI-DI to which the Device is associated. | N/A | Basic UDI-DI |  |  | 1 | [7 empty] | Y | Y | UDIDIDataType | basicUDIIdentifier
FLD-UDID-147 | Intended purpose other than medical (Annex XVI) | UDIData | Field stores the reference to the Intended purpose other than medical of the Device (UDI-DI). Field stores the values regarding the Intended purpose of the Device other the medical one`s as they are descubed in the Annex XVI of MDR Regulation. | ENUM_UDID_NonMedicalDeviceType | Enum |  |  | 0..n |  |  |  | Y | BR-UDID-550 |  | Y | Y |  | MDRUDIDIDataType | annexXVINonMedicalDeviceTypes
FLD-UDID-148 | Type of UDI-PI | UDIData | Reference to the Types of UDI-PI (production Identifiers) applicable for the current Device (UDI-DI). Defines the way the production is controled | ENUM_UDID_ProductionIdentifier | Enum |  |  | 1..n |  |  |  | Y | BR-UDID-131 |  | Y | Y | Y | UDIDIDataType | productionIdentifier
FLD-UDID-149 | Nomenclature code | UDIData | The Device Nomenclature Code(s) associated with the UDI-DI. The corresponding CND Nomenclature Code will be stored in the field Only one Nomenclature Code can be associated to the UDI-DI. | ENUM_UDID_MDN | Enum |  |  | 1 |  | Y |  | Y | BR-UDID-615 BR-UDID- 636 | Y | Y | Y | Y | UDIDIDataType | MDNCode
FLD-UDID-151 | Quantity of Device | UDIData | The base quantity in which the Device is provided. Field has a default value 1. | N/A | Number |  |  | 1 |  |  |  | Y | BR-UDID-551 |  | Y | Y | Y | DeviceUDIDIDataType | baseQuantity
FLD-UDID-156 | Containing latex | UDIData | Property defines if the Device contains latex into it`s composition | N/A | Boolean |  |  | 1 |  | Y |  | Y | BR-UDID-17 |  | Y | Y |  | MDRUDIDIDataType | latex
FLD-UDID-157 | Maximum number of reuses | UDIData | Property defines the Maximum Number of reuses applicable for the Device. Field is optional and can be completed if the Device is not marked as single use device ( singleUse is false). | N/A | Number |  |  | 0..1 (Field can be completed only if singleUse is false) |  |  |  | Y | BR-UDID-24 BR-UDID-560 |  | Y | Y | Y | DeviceUDIDIDataType | numberOfReuses
FLD-UDID-159 | New Device | UDIData | Defines if the Device can be considered a 'New' Device or not. A device shall be considered to be ‘new’ if: (a) there has been no such device continuously available on the Union market during the previous three years for the relevant analyte or other parameter; (b) the procedure involves analytical technology not continuously used in connection with a given analyte or other parameter on the Union market during the previous three years. | N/A | Boolean |  |  | 0..1 (Applicable for IVDR) |  | Y |  | Y | BR-UDID-36 |  | Y |  | Y | IVDRDeviceDataType | newDevice
FLD-UDID-160 | Not intended for being placed on the EU market | UDIData | Property defines if the the device is not intended to be placed on the EU market or Not. If submitted with value True, Device is not considered as intended for EU Market. In case the field is submitted with value True, values for fields 'Member State were the Device is placed on the Market' and 'Member state were the device is made available in the market' should not be submitted | N/A | Boolean |  |  | 1 |  |  |  | Y | BR-UDID-67 |  | Y | Y | Y | DeviceUDIDIDataType | not4EU
FLD-UDID-163 | Reference / Catalogue Number | UDIData | Property stores the Reference or Catalogue Number of the Device | N/A | String | XS |  | 1 |  | Y |  | Y | BR-UDID-67 |  | Y | Y | Y | UDIDIDataType | referenceNumber
FLD-UDID-164 | Reprocessesed single use device | UDIData | Property defines if the Device is a Reprocessesed single use device or not | N/A | Boolean |  |  | 1 |  | Y |  | Y | BR-UDID-79 |  | Y | Y |  | MDRUDIDIDataType | reprocessed
FLD-UDID-167 | Labelled as single use | UDIData | Property defines if the Device is a Labelled as a Single use or not | N/A | Boolean |  |  | 1 |  | Y |  | Y | BR-UDID-67 |  | Y | Y |  | DeviceUDIDIDataType | numberOfReuses (if value provided is 0, Device is considered as Single use Device )
FLD-UDID-169 | Device labelled sterile | UDIData | Property defines if the UDI-DI is labeled as Sterile or not | N/A | Boolean |  |  | 1 |  | Y |  | Y | BR-UDID-67 |  | Y | Y | Y | UDIDIDataType | sterile
FLD-UDID-170 | Need for sterilisation before use | UDIData | Property defines if the UDI-DI needs to be sterilised before use or not | N/A | Boolean |  |  | 1 |  | Y |  | Y | BR-UDID-67 |  | Y | Y | Y | UDIDIDataType | sterilization
FLD-UDID-174 | URL for additional information | UDIData | Manufacturer`s website where additional information about the device (UDI-DI) are available | N/A | String | S |  | 0..1 |  |  |  | Y |  | Y | Y | Y | Y | UDIDIDataType | website
FLD-UDID-175 | Additional product Description | UDIData | Additional Product Description. Additional Product Description is required for System or Procedure Packs or for Standard Devices being marked as System or Procedure Packs (as a Device in themselvs) | N/A | String | L | Y | 0..1 (Required for System or Procedure Packs or for Standard Devices being marked as System or Procedure Packs (as a Device in themselvs)) |  |  |  | Y | BR-UDID-131 | Y | Y | Y | Y | UDIDIDataType | additionalDescription
FLD-UDID-176 | Name/ Trade name | UDIData | Device Trade Name assigned to the UDI-DI Trade names can be provided if applicable for the device. Several Trade- Names can be provided for the Device in the same language or in different languages. | N/A | String | S | Y | 0..n |  | Y |  | Y | BR-UDID-70 BR-UDID-464 BR-UDID-565 | Y | Y | Y | Y | UDIDIDataType | tradeNames
FLD-UDID-190 | /Clinical Size Type | ClinicalSize | Device Clinical Sizes can be provided if applicable. Several Clinical Sizes can be added for the Device. Clinical Size will be defined by the Type, Precizion, Value (either Range, single value or Text) and Measuring Unit The Type of Clinical Size (example : length, width, etc.) | ENUM_UDID_ClinicalSizeType | Enum |  |  | 1 |  |  |  | Y | BR-UDID-75 |  | Y | Y |  | ClinicalSizeType | clinicalSizeType
FLD-UDID-191 | /Precizion | ClinicalSize | Device Clinical Sizes can be provided if applicable. Several Clinical Sizes can be added for the Device. Clinical Size will be defined by the Type, Precizion, Value (either Range, single value or Text) and Measuring Unit Clinical Size Precision - mentions how the recording of Data will be performed (as value, range or Other is selected) | ENUM_UDID_ClinicalSizePrecision | Enum |  |  | 1 |  |  |  | Y |  |  | Y | Y |  | ClinicalSizeType | precision
FLD-UDID-192 | /Maximum | ClinicalSize | Device Clinical Sizes can be provided if applicable. Several Clinical Sizes can be added for the Device. Clinical Size will be defined by the Type, Precizion, Value (either Range, single value or Text) and Measuring Unit Maximum Value that the Clinical Size can get (when Range is selected as precision) | N/A | Double |  |  | 1 |  |  |  | Y | BR-UDID-77 |  | Y | Y |  | ClinicalSizeType | maximum
FLD-UDID-193 | /Value(Minimum) | ClinicalSize | Device Clinical Sizes can be provided if applicable. Several Clinical Sizes can be added for the Device. Clinical Size will be defined by the Type, Precizion, Value (either Range, single value or Text) and Measuring Unit Value (Minimum) that the Clinical Size can get (when Value or Range is selected as precision) | N/A | Double |  |  | 1 |  |  |  | Y |  |  | Y | Y |  | ClinicalSizeType | value
FLD-UDID-194 | /Value(Text) | ClinicalSize | Device Clinical Sizes can be provided if applicable. Several Clinical Sizes can be added for the Device. Clinical Size will be defined by the Type, Precizion, Value (either Range, single value or Text) and Measuring Unit Value that the Clinical Size can get (when Other is selected as precision) | N/A | String | S |  | 1 |  |  |  | Y |  |  | Y | Y |  | ClinicalSizeType | text
FLD-UDID-195 | /Measure Unit | ClinicalSize | Device Clinical Sizes can be provided if applicable. Several Clinical Sizes can be added for the Device. Clinical Size will be defined by the Type, Precizion, Value (either Range, single value or Text) and Measuring Unit Clinical Size Measure Unit | ENUM_UDID_ClinicalSizeMeasureUnit | Enum |  |  | 1 |  |  |  | Y | BR-UDID-76 |  | Y | Y |  | ClinicalSizeType | valueUnit
FLD-UDID-196 | Labeled for presence of substances being CMR of category 1A or 1B / Labeled for presence of substances having endocrine-disrupting properties/ Presence of a substance which, if used separately, may be considered to be a medicinal product/ Presence of a substance which, if used separately, may be considered to be a medicinal product derived from human blood or human plasma | SubstanceList | When registering a new Device containing in its composition substances (substances being CMR of category 1A or 1B / substances having endocrine-disrupting properties/ substances which, if used separately, may be considered to be a medicinal product/ substances which, if used separately, may be considered to be a medicinal product derived from human blood or human plasma), Manufacturer will have to submit the details of those substances Field stores the details regatrding the type of Substance registered (CMR Substance / Endocrine substance/ Substance which can be considered a Medicinal Product or Substance which may be considered a medicinal product derived from human blood or plasma) | ENUM_UDID_SubstType | Enum |  |  | 1 |  |  |  | Y | BR-UDID-27 BR-UDID-90 BR-UDID-25 BR-UDID-89 BR-UDID-41 BR-UDID-101 | Y | Y | Y |  | CMREndocrineSubstanceType MedicalHumanProductSubstanceType | type
FLD-UDID-200 | Category of CMR | SubstanceList | When registering a new Device containing in its composition substances (substances being CMR of category 1A or 1B / substances having endocrine-disrupting properties/ substances which, if used separately, may be considered to be a medicinal product/ substances which, if used separately, may be considered to be a medicinal product derived from human blood or human plasma), Manufacturer will have to submit the details of those substances Field stores the Type of CMR Substance. It is only applicable when the Substance registered is a CMR Substance | ENUM_UDID_CMRType | Enum |  |  | 0..1 (Only applicable for CMR Substances) |  |  |  | Y |  | Y | Y | Y |  | CMREndocrineSubstanceType | type
FLD-UDID-201 | Name of Substance | SubstanceList | When registering a new Device containing in its composition substances (substances being CMR of category 1A or 1B / substances having endocrine-disrupting properties/ substances which, if used separately, may be considered to be a medicinal product/ substances which, if used separately, may be considered to be a medicinal product derived from human blood or human plasma), Manufacturer will have to submit the details of those substances Field stores the Name of Substance (applicable for all types of substances - CMR, Endocrine , Medicinal product, Medicinal product derived from human blood or human). In case of CMR Substances or Medicinal product and Medicinal product derived from human blood or human plasma , if the #CAS or #EC or INN is provided, field is no longer required | N/A | String | L | Y | 0..1 (Not required in case the #CAS, #EC or INN is provided based on the type of Substance registered) |  |  |  | Y | BR-UDID-27 | Y | Y | Y |  | SubstanceType | name
FLD-UDID-202 | CAS# | SubstanceList | When registering a new Device containing in its composition substances (substances being CMR of category 1A or 1B / substances having endocrine-disrupting properties/ substances which, if used separately, may be considered to be a medicinal product/ substances which, if used separately, may be considered to be a medicinal product derived from human blood or human plasma), Manufacturer will have to submit the details of those substances Field stores the CAS Code (CAS#) associated to the CMR or Endocrine disrupting substance. CAS# can be provided only for CMR or Endocrine-disrupting substances | N/A | String | 12 |  | 0..1 (can be provided only for CMR or Endocrine-disrupting substances) |  |  |  | Y |  | Y | Y | Y |  | CMREndocrineSubstanceType | CASCode
FLD-UDID-203 | EC# | SubstanceList | When registering a new Device containing in its composition substances (substances being CMR of category 1A or 1B / substances having endocrine-disrupting properties/ substances which, if used separately, may be considered to be a medicinal product/ substances which, if used separately, may be considered to be a medicinal product derived from human blood or human plasma), Manufacturer will have to submit the details of those substances Field Stores the EC Code (EC#)associated to the CMR or Endocrine disrupting substance. EC# can be provided only for CMR or Endocrine-disrupting substances | N/A | String | 9 |  | 0..1 (can be provided only for CMR or Endocrine-disrupting substances) |  |  |  | Y |  | Y | Y | Y |  | CMREndocrineSubstanceType | ECCode
FLD-UDID-204 | INN | SubstanceList | When registering a new Device containing in its composition substances (substances being CMR of category 1A or 1B / substances having endocrine-disrupting properties/ substances which, if used separately, may be considered to be a medicinal product/ substances which, if used separately, may be considered to be a medicinal product derived from human blood or human plasma), Manufacturer will have to submit the details of those substances Field stores the INN value for the substance provided. INN can be provided only for CMR or Endocrine-disrupting substances which, if used separately, may be considered to be a medicinal product or substances which, if used separately, may be considered to be a medicinal product derived from human blood or human plasma. | N/A | String | L |  | 0..1 |  |  |  | Y | BR-UDID-102 | Y | Y | Y |  | MedicalHumanProductSubstanceType | INN
FLD-UDID-210 |  | ConditionForUse | Storage and handling Conditions and Critical Warnings or Contra-Indications specified on the Label of the Device or in the Instruction of Use have to be registered in EUDAMED - if applicable. Field stores the type of Instruction for use (possible values Critical Warnings or Storage and Handling Conditions) | ENUM_UDID_IFUType | Enum |  |  | 1 | [5 empty] | Y | Y | Y | Y | UDIDIDataType | criticalWarnings storageHandlingConditions
FLD-UDID-211 | Storage/handling conditions type | ConditionForUse | Storage and handling Conditions and Critical Warnings or Contra-Indications specified on the Label of the Device or in the Instruction of Use have to be registered in EUDAMED - if applicable. Field stores the Type of Storage and Handling Conditions. Field is Applicable only when the type of Conditions for Use have the Type Storage / handling Conditions, being required in this case. | ENUM_UDID_StorageHandlingCondition | Enum |  |  | 0..1 (Applicable only for Storage/handling conditions) |  |  |  | Y |  | Y | Y | Y | Y | StorageHandlingConditionType | storageHandlingConditionValue
FLD-UDID-212 | Critical Warnings type | ConditionForUse | Storage and handling Conditions and Critical Warnings or Contra-Indications specified on the Label of the Device or in the Instruction of Use have to be registered in EUDAMED - if applicable. Field stores the Type of Critical Warnings or Contra-Indications, being required in this case. | ENUM_UDID_CriticalWarnings | Enum |  |  | 0..1 (Applicable only for Critical warnings or Contra-Indications) |  |  |  | Y |  | Y | Y | Y | Y | CriticalWarningType | warningValue
FLD-UDID-213 | Storage/Handling conditions / Critical warnings or contra-indications | ConditionForUse | Storage and handling Conditions and Critical Warnings or Contra-Indications specified on the Label of the Device or in the Instruction of Use have to be registered in EUDAMED - if applicable. Comments or description associated to the values selected form the Storage or handling Conditions or Critical warnings | N/A | String | L | Y | 0..1 (Required for specific items from the list of Enumerations- were additional details are required) |  |  |  | Y | BR-UDID-637 BR-UDID-638 | Y | Y | Y | Y | CriticalWarningType StorageHandlingConditionType | comment
FLD-UDID-221 | Enter the SRN (Is the Device designed or Manufactured by another legal or natural person) | ProductDesignerLink | Details of the Product Designer (Original Manufacturer) who Manufactured (produced) or Designed the Device. An original design manufacturer (ODM) is a company that designs and manufactures a product, as specified, that is eventually rebranded by another firm for sale. Details of the Product Designer can be given either by providing the SRN (if the PD is already registered in EUDAMED and has an SRN) or by providing Organisation details (Name and Contact Details - in case the PD is not registered in EUDAMED) SRN of the natural or legal person who designed and manufactured the device. Reference to a Manufacturer present in EUDAMED | N/A | String | S |  | 0..1 (Either the MF SR is required or the Organisation is required) |  |  |  | Y |  | Y |  | Y | Y | DeviceUDIDIDataType | productDesignerActorCode
FLD-UDID-222 |  | ProductDesignerLink | Details of the Product Designer (Original Manufacturer) who Manufactured (produced) or Designed the Device. Reference to an Organisation details provided in case the Manufacturer that designed and manufactured the device is not present in EUDAMED. | N/A | Organisation |  |  | 0..1 (Either the MF SR is required or the Organisation is required) | [5 empty] | Y |  | Y | Y | DeviceUDIDIDataType | productDesignerOrganisation
FLD-UDID-225 | Name | Organisation | Details of the Product Designer (Original Manufacturer) who Manufactured (produced) or Designed the Device. Field stores the Name of the Organisation (Manufacturer) that designed and manufactured the Device (UDI-DI). Required in case the PD Organisation link is provided (ProductDesignerLink relates to an Organisation) | N/A |  |  |  | 0..1 (Either the MF SR is required or the Organisation is required) |  |  |  | Y |  | Y |  | Y | Y | OrganisationType | names
FLD-UDID-230 | Street | GeographicAddress | Details of the Product Designer (Original Manufacturer) who Manufactured (produced) or Designed the Device. Field stores the Street Name Required in case the PD Organisation link is provided (ProductDesignerLink relates to an Organisation) | N/A | String | S |  | 1 |  |  |  | Y |  | Y |  | Y | Y | GeographicAddressType | street
FLD-UDID-231 | Street number | GeographicAddress | Details of the Product Designer (Original Manufacturer) who Manufactured (produced) or Designed the Device. Field stores the Street Number Required in case the PD Organisation link is provided (ProductDesignerLink relates to an Organisation) | N/A | String | XS |  | 1 |  |  |  | Y |  | Y |  | Y | Y | GeographicAddressType | streetNum
FLD-UDID-232 | Address complement | GeographicAddress | Details of the Product Designer (Original Manufacturer) who Manufactured (produced) or Designed the Device. Field stores the Complement of the Address (Additional adress details) Required in case the PD Organisation link is provided (ProductDesignerLink relates to an Organisation) | N/A | String | S |  | 0..1 |  |  |  | Y |  | Y |  | Y | Y | GeographicAddressType | AddressComplement
FLD-UDID-233 | PO box | GeographicAddress | Details of the Product Designer (Original Manufacturer) who Manufactured (produced) or Designed the Device. Field stores the POBox Required in case the PD Organisation link is provided (ProductDesignerLink relates to an Organisation) | N/A | String | XS |  | 1 |  |  |  | Y |  | Y |  | Y | Y | GeographicAddressType | PObox
FLD-UDID-234 | City name | GeographicAddress | Details of the Product Designer (Original Manufacturer) who Manufactured (produced) or Designed the Device. Field stores the City name Required in case the PD Organisation link is provided (ProductDesignerLink relates to an Organisation) | N/A | String | XS |  | 1 |  |  |  | Y |  | Y |  | Y | Y | GeographicAddressType | city
FLD-UDID-235 | Postal code | GeographicAddress | Details of the Product Designer (Original Manufacturer) who Manufactured (produced) or Designed the Device. Field stores the Postal code Required in case the PD Organisation link is provided (ProductDesignerLink relates to an Organisation) | N/A | String | XS |  | 1 |  |  |  | Y |  | Y |  | Y | Y | GeographicAddressType | postCode
FLD-UDID-236 | Country | GeographicAddress | Details of the Product Designer (Original Manufacturer) who Manufactured (produced) or Designed the Device. Field stores the Country Required in case the PD Organisation link is provided (ProductDesignerLink relates to an Organisation) | ENUM_MDR_COUNTRY | Enum |  |  | 1 |  |  |  | Y |  | Y |  | Y | Y | GeographicAddressType | country
FLD-UDID-240 | Telephone | PublicContactDetails | Details of the Product Designer (Original Manufacturer) who Manufactured (produced) or Designed the Device. Field stores the Phone Number of the Company Required in case the PD Organisation link is provided (ProductDesignerLink relates to an Organisation) | N/A | String | XS |  | 0..1 |  |  |  | Y |  | Y |  | Y | Y | ElectronicContactType | phone
FLD-UDID-241 | Email | PublicContactDetails | Details of the Product Designer (Original Manufacturer) who Manufactured (produced) or Designed the Device. Field stores the Email of the Company Required in case the PD Organisation link is provided (ProductDesignerLink relates to an Organisation) | N/A | String | XS |  | 0..1 |  |  |  | Y |  | Y |  | Y | Y | ElectronicContactType | email
FLD-UDID-250 | Start date | MarketInfo | Details regarding the Countries were the Device (UDI-DI) is made available on the market. There can be a Start Date (optional) and an End Date (also optional) of making available on a specific market the product. Field stores details about the Start Date when the Device is made available on the marked | N/A | Date |  |  | 1 |  |  |  | Y |  | Y |  | Y | Y | MarketInfoType | startDate
FLD-UDID-251 | End date | MarketInfo | Details regarding the Countries were the Device (UDI-DI) is made available on the market. There can be a Start Date (optional) and an End Date (also optional) of making available on a specific market the product. Field stores details about the End Date when the Device is made available on the marked | N/A | Date |  |  | 0..1 |  |  |  | Y |  | Y |  | Y | Y | MarketInfoType | endDate
FLD-UDID-252 | Member State were the device is or is to be made available | MarketInfo | Details regarding the Countries were the Device (UDI-DI) is made available on the market. There can be a Start Date (optional) and an End Date (also optional) of making available on a specific market the product. Field stores details about the Country were the Device is made available on the market | ENUM_MDR_COUNTRY | Enum |  |  | 1 |  |  |  | Y | BR-UDID-43 BR-UDID-44 BR-UDID-45 BR-UDID-46 | Y |  | Y | Y | MarketInfoType | country
FLD-UDID-95 |  | VersionData | In order to keep a referens to the changes performed in the different system entities, a version control mechanism is set up in place. Property stores the Date when the version was last updated | N/A | Date | [6 empty] | Y |  |  |  | Y | Y | Entity | versionDate
FLD-UDID-98 |  | VersionData | In order to keep a referens to the changes performed in the different system entities, a version control mechanism is set up in place. Property stores the Number of the Version when the version was last updated | N/A | Number |  |  | 1 |  |  |  | Y |  |  |  | Y | Y | Entity | version
FLD-UDID-99 |  | VersionData | In order to keep a referens to the changes performed in the different system entities, a version control mechanism is set up in place. Property stores the State of the Version | ENUM_UDID_WorkflowState | Enum |  |  | 1 |  |  |  | Y |  |  |  | Y | Y | Entity | state

## Data Dictionary Basic UDI_SPPP
MDR Eudamed - Data Dictionary
|  | EA | EA |  | EA
Field ID | Field Label | Entity Name | Field Description / Notes | ENUM Reference Code | Field Type | Field Size | Multilingual Flag | Occurrence | Confidential | Searchable | GDPR Flag | Public Access Flag | Business Rules | Updateable (standard version) | Updateable (version 'for Correction') | Field Applicable for MDR | Field Applicable for IVDR | DTX Entity | XSD Element Name
FLD-UDID-01 | Issuing Entity | DIIdentifier | Assigned Issuing Entities that will generate the DI Codes allocated for all DI`s inside Eudamed (Basic UDI DI, UDI-DI, Unit of Use DI, Secondary Di , Package level DI). The Commission shall designate one or several entities to operate a system for assignment of UDIs ('issuing entity') | ENUM_MDR_IssuingEntity | Enum |  |  | 1 |  | Y |  | Y |  |  |  | Y | Y | DIIdentififierType | issuingEntityCode
FLD-UDID-02 | Basic UDI- DI Value / UDI-DI Code/ Package UDI-DI Code | DIIdentifier | Device Identified code/value (DI Code). Together with the Issuing Entity creates the uniqness of the element to which they are assigned (Basic UDI-DI , UDI-DI, etc.) The Basic UDI-DI is the primary identifier of a device model.It is the main key for records in the UDI database and is referenced in relevant certificates and EU declarations of conformity The UDI-DI is a unique numeric or alphanumeric code specific to a model of device and that is also used as the 'access key' to information stored in a UDI database. The Unit of Use DI serves to associate the use of a device with a patient in instances in which a UDI is not labelled on the individual device at the level of its unit of use, for example in the event of several units of the same device being packaged together. | N/A | String | XS |  | 1 |  | Y |  | Y |  |  |  | Y | Y | DIIdentififierType | DICode
FLD-UDID-44 | System or Procedure Pack Producer SRN | BasicUDIData | SRN of the System or Proceudre Pack Producers that registers the System or Procedure Pack. | N/A | String | XS |  | 1 |  | Y |  | Y |  |  |  | Y | Y | SPPBasicUDIType | SPActorCode
FLD-UDID-16 | Risk Class | BasicUDIData | Risk Class of the Device associated with the Basic UDI-DI. Device Risk Class is dependent directly on the Applicable Legislation of the Device. | ENUM_UDID_RiskClass | Enum |  |  | 1 |  | Y |  | Y |  |  | Y | Y | Y | BasicUDIType | riskClass
FLD-UDID-20 | Device Model | BasicUDIData | I nformation allowing the identification of the device - Device Model. At least one of the Device identification details (Device Model or the Device Name) have to be provided for a Basic UDI-DI. | N/A | String | XS |  | 0..1 (Either Device Model or Device is required) |  | Y |  | Y |  | Y | Y | Y | Y | ModelNameGroup | model
FLD-UDID-22 | Device Name | BasicUDIData | I nformation allowing the identification of the device - Device Name. At least one of the Device identification details (Device Model or the Device Name) have to be provided for a Basic UDI-DI. | N/A | String | XS |  | 0..1 (Either Device Model or Device is required) |  | Y |  | Y |  | Y | Y | Y | Y | ModelNameGroup | name
FLD-UDID-95 | Version Date | VersionData | In order to keep a referens to the changes performed in the different system entities, a version control mechanism is set up in place. Property stores the Date when the version was last updated | N/A | Date |  |  | 1 |  |  |  | Y |  |  |  | Y | Y | Entity | versionDate
FLD-UDID-98 | Version Number | VersionData | In order to keep a referens to the changes performed in the different system entities, a version control mechanism is set up in place. Property stores the Number of the Version when the version was last updated | N/A | Number |  |  | 1 |  |  |  | Y |  |  |  | Y | Y | Entity | version
FLD-UDID-99 | State | VersionData | In order to keep a referens to the changes performed in the different system entities, a version control mechanism is set up in place. Property stores the State of the Version | ENUM_UDID_WorkflowState | Enum |  |  | 1 |  |  |  | Y |  |  |  | Y | Y | Entity | state
FLD-UDID-260 | Medical Purpose of the Device | BasicUDIData | Description of the Medical Purpose of the System or Procedure Pack. Field is applicable for System and Procedure Packs and refers to the Indication of the specific medical purpose of the System or Procedure Pack Producer | N/A | String | XL | Y | 0..1 |  |  |  | Y |  | Y | Y | Y(only in case of Systems and procedure packs) |  | SPPBasicUDIType | medicinalPurpose
FLD-UDID-261 | Type of System or Procedure Pack | BasicUDIData | Type of the System or Procedure Pack | ENUM_UDID_SystemProcedurePackType | Enum |  |  | 0..1 |  | Y |  | Y |  |  |  | Y(only in case of Systems and procedure packs) |  | SPPBasicUDIType | type

## Data Dictionary UDI-DI_SPPP
MDR Eudamed - Data Dictionary
|  | EA | EA |  | EA
Field ID | Field Label | Entity Name | Field Description / Notes | ENUM Reference Code | Field Type | Field Size | Multilingual Flag | Occurrence | Confidential | Searchable | GDPR Flag | Public Access Flag | Business Rules | Updateable | Updateable (version 'for Correction') | Field Applicable for MDR | Field Applicable for IVDR | DTX Entity | XSD Element Name
FLD-UDID-01 | Issuing Entity | DIIdentifier | Assigned Issuing Entities that will generate the DI Codes allocated for all DI`s inside Eudamed (Basic UDI DI, UDI-DI, Unit of Use DI, Secondary Di , Package level DI). The Commission shall designate one or several entities to operate a system for assignment of UDIs ('issuing entity') | ENUM_UDID_IssuingEntity | Enum |  |  | 1 |  | Y |  | Y |  |  |  | Y | Y | DIIdentififierType | issuingEntityCode
FLD-UDID-02 | Basic UDI- DI Value / UDI-DI Code/ Package UDI-DI Code. Secondary DI. Unit of Use DI | DIIdentifier | Device Identified code/value (DI Code). Together with the Issuing Entity creates the uniqness of the element to which they are assigned (Basic UDI-DI , UDI-DI, etc.) The Basic UDI-DI is the primary identifier of a device model.It is the main key for records in the UDI database and is referenced in relevant certificates and EU declarations of conformity The UDI-DI is a unique numeric or alphanumeric code specific to a model of device and that is also used as the 'access key' to information stored in a UDI database. The Unit of Use DI serves to associate the use of a device with a patient in instances in which a UDI is not labelled on the individual device at the level of its unit of use, for example in the event of several units of the same device being packaged together. Direct Marking UDI-DI - is the DI with which the Device (UDI-DI) is labeled directly | N/A | String | XS |  | 1 |  | Y |  | Y | BR-UDID-03 |  |  | Y | Y | DIIdentififierType | DICode
FLD-UDID-121 | Quantity per package | ContainedItem | Number of Items in the Package Structure. Used when describing the Container Packaging Structure of a Device. | N/A | Number |  |  | 1 |  |  |  | Y |  |  |  | Y | Y | PackageUDIType | numberOfItems
FLD-UDID-122 | Recall Precision | ContainedItem | When the Status of a Device is set to FSCA Initiated or Recall, details about the Scope of the Recall/ FSCA are required (description of the serialnumber / lot number, etc.) Field stores the details of the recalled elements (batch numbers, lots numbers , etc.) of the Device - when the Scope of Recalled is entered manually by the user (not by referencing an FSN) | N/A | String | L |  | 1 |  |  |  | Y | BR-UDID-52 |  |  | Y | Y | UDIDISubstatusType | recalledPrecisions
FLD-UDID-123 | Scope of Recall | ContainedItem | When the Status of a Device is set to FSCA Initiated or Recall, details about the Scope of the Recall/ FSCA are required (description of the serialnumber / lot number, etc.) Field defines how the Scope of the Recall is defined (by Lot number, Serial Number , etc.) | ENUM_UDID_DeviceScope | Enum |  |  | 1 |  |  |  | Y |  |  |  | Y | Y | UDIDISubstatusType | recalledScope
FLD-UDID-124 |  | ContainedItem | Container Packaging Structure is a ierarhical structure defining how the Device is packaged together for shipping and selling reasons. The basic (the lower) element of the Packagining Structure is the UDI-DI. The field stores a link to previous element in the Package Structure (parent element) |  | Containeditem |  |  | 1 | [7 empty] | Y | Y | PackageUDIType | child
FLD-UDID-130 | Device Status | DeviceStatus | Status of the Device (On the market, No longer placed on the market). | ENUM_UDID_DeviceStatus | Enum |  |  | 1 |  | Y |  | Y | BR-UDID-114 BR-UDID-73 BR-UDID-458 | Y | Y | Y | Y | UDIDIStatusType | code
FLD-UDID-131 | Device SubStatus | DeviceStatus | SubStatus of the Device (Recalled, Field safety corrective action initiated) | ENUM_UDID_DeviceSubStatus | Enum |  |  | 0..2 |  | Y |  | Y |  |  |  | Y | Y | UDIDISubstatusType | code
FLD-UDID-136 | Secondary UDI - DI value | UDIData | Secondary UDI DI Code - reference to the Secondary UDI-DI registered for the current UDI-DI . Additional DI associated to this UDI-DI. Only one Secondary UDI-DI (Additional UDI-DI) can be associated to a UDI-DI | N/A | DIIdentifier | XS |  | 0..1 | [5 empty] | Y | Y | Y | Y | UDIDIDataType | secondaryIdentifier
FLD-UDID-145 | Basic UDI-DI Identifier | UDIData | Reference to the Basic UDI-DI to which the Device is associated. | N/A | Basic UDI-DI |  |  | 1 | [7 empty] | Y | Y | UDIDIDataType | basicUDIIdentifier
FLD-UDID-148 | Type of UDI-PI | UDIData | Reference to the Types of UDI-PI (production Identifiers) applicable for the current Device (UDI-DI). Defines the way the production is controled | ENUM_UDID_ProductionIdentifier | Enum |  |  | 1..n |  |  |  | Y | BR-UDID-131 |  | Y | Y | Y | UDIDIDataType | productionIdentifier
FLD-UDID-149 | Nomenclature code | UDIData | The Device Nomenclature Code(s) associated with the UDI-DI. The corresponding CND Nomenclature Code will be stored in the field Only one Nomenclature Code can be associated to the UDI-DI. | ENUM_UDID_MDN | Enum |  |  | 1 |  | Y |  | Y | BR-UDID-615 BR-UDID- 636 | Y | Y | Y | Y | UDIDIDataType | MDNCode
FLD-UDID-163 | Reference / Catalogue Number | UDIData | Property stores the Reference or Catalogue Number of the Device | N/A | String | XS |  | 1 |  | Y |  | Y | BR-UDID-67 |  | Y | Y | Y | UDIDIDataType | referenceNumber
FLD-UDID-169 | Device labelled sterile | UDIData | Property defines if the UDI-DI is labeled as Sterile or not | N/A | Boolean |  |  | 1 |  | Y |  | Y | BR-UDID-67 |  | Y | Y | Y | UDIDIDataType | sterile
FLD-UDID-170 | Need for sterilisation before use | UDIData | Property defines if the UDI-DI needs to be sterilised before use or not | N/A | Boolean |  |  | 1 |  | Y |  | Y | BR-UDID-67 |  | Y | Y | Y | UDIDIDataType | sterilization
FLD-UDID-174 | URL for additional information | UDIData | Manufacturer`s website where additional information about the device (UDI-DI) are available | N/A | String | S |  | 1 |  |  |  | Y |  | Y | Y | Y | Y | UDIDIDataType | website
FLD-UDID-175 | Additional product Description | UDIData | Additional Product Description. Additional Product Description is required for System or Procedure Packs or for Standard Devices being marked as System or Procedure Packs (as a Device in themselvs) | N/A | String | L | Y | 1 (Required for System or Procedure Packs or for Standard Devices being marked as System or Procedure Packs (as a Device in themselvs)) |  |  |  | Y | BR-UDID-131 | Y | Y | Y | Y | UDIDIDataType | additionalDescription
FLD-UDID-176 | Name/ Trade name | UDIData | Device Trade Name assigned to the UDI-DI Trade names can be provided if applicable for the device. Several Trade- Names can be provided for the Device in the same language or in different languages. | N/A | String | S | Y | 0..n |  | Y |  | Y | BR-UDID-70 BR-UDID-464 BR-UDID-565 | Y | Y | Y | Y | UDIDIDataType | tradeNames
FLD-UDID-210 |  | ConditionForUse | Storage and handling Conditions and Critical Warnings or Contra-Indications specified on the Label of the Device or in the Instruction of Use have to be registered in EUDAMED - if applicable. Field stores the type of Instruction for use (possible values Critical Warnings or Storage and Handling Conditions) | ENUM_UDID_IFUType | Enum |  |  | 1 | [5 empty] | Y | Y | Y | Y | UDIDIDataType | criticalWarnings storageHandlingConditions
FLD-UDID-211 | Storage/handling conditions type | ConditionForUse | Storage and handling Conditions and Critical Warnings or Contra-Indications specified on the Label of the Device or in the Instruction of Use have to be registered in EUDAMED - if applicable. Field stores the Type of Storage and Handling Conditions. Field is Applicable only when the type of Conditions for Use have the Type Storage / handling Conditions, being required in this case. | ENUM_UDID_StorageHandlingCondition | Enum |  |  | 0..1 (Applicable only for Storage/handling conditions) |  |  |  | Y |  | Y | Y | Y | Y | StorageHandlingConditionType | storageHandlingConditionValue
FLD-UDID-212 | Critical Warnings type | ConditionForUse | Storage and handling Conditions and Critical Warnings or Contra-Indications specified on the Label of the Device or in the Instruction of Use have to be registered in EUDAMED - if applicable. Field stores the Type of Critical Warnings or Contra-Indications, being required in this case. | ENUM_UDID_CriticalWarnings | Enum |  |  | 0..1 (Applicable only for Critical warnings or Contra-Indications) |  |  |  | Y |  | Y | Y | Y | Y | CriticalWarningType | warningValue
FLD-UDID-213 | Storage/Handling conditions / Critical warnings or contra-indications | ConditionForUse | Storage and handling Conditions and Critical Warnings or Contra-Indications specified on the Label of the Device or in the Instruction of Use have to be registered in EUDAMED - if applicable. Comments or description associated to the values selected form the Storage or handling Conditions or Critical warnings | N/A | String | L | Y | 0..1 (Required for specific items from the list of Enumerations- were additional details are required) |  |  |  | Y | BR-UDID-637 BR-UDID-638 | Y | Y | Y | Y | CriticalWarningType StorageHandlingConditionType | comment
FLD-UDID-95 |  | VersionData | In order to keep a referens to the changes performed in the different system entities, a version control mechanism is set up in place. Property stores the Date when the version was last updated | N/A | Date | [6 empty] | Y |  |  |  | Y | Y | Entity | versionDate
FLD-UDID-98 |  | VersionData | In order to keep a referens to the changes performed in the different system entities, a version control mechanism is set up in place. Property stores the Number of the Version when the version was last updated | N/A | Number |  |  | 1 |  |  |  | Y |  |  |  | Y | Y | Entity | version
FLD-UDID-99 |  | VersionData | In order to keep a referens to the changes performed in the different system entities, a version control mechanism is set up in place. Property stores the State of the Version | ENUM_UDID_WorkflowState | Enum |  |  | 1 |  |  |  | Y |  |  |  | Y | Y | Entity | state